## 01_20_21_Plate_1
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Average of sample type = Average of samples where Measurement: Meas B Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 307868 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Average of sample type = Average of samples where Measurement: Meas B Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.84 | 1.84 | 0.508 | 0.508 | 1.1655 | 1.1655 | 1.1645 | 1.1645 | 0.874 | 0.874 | 0.041679 | 0.041679
B | 1.4775 | 1.4775 | 0.5 | 0.5 | 1.028 | 1.028 | 0.8895 | 0.8895 | 0.738 | 0.738 | 0.041679 | 0.041679
C | 1.1985 | 1.1985 | 0.6475 | 0.6475 | 1.0695 | 1.0695 | 0.906 | 0.906 | 0.041679 | 0.041679 | 0.041679 | 0.041679
D | 1.0185 | 1.0185 | 0.6605 | 0.6605 | 0.785 | 0.785 | 0.798 | 0.798 | 0.041679 | 0.041679 | 0.041679 | 0.041679
E | 0.863 | 0.863 | 0.688 | 0.688 | 0.7715 | 0.7715 | 1.08 | 1.08 | 0.041679 | 0.041679 | 0.041679 | 0.041679
F | 0.672 | 0.672 | 0.6105 | 0.6105 | 0.8725 | 0.8725 | 0.979 | 0.979 | 0.041679 | 0.041679 | 0.041679 | 0.041679
G | 0.5965 | 0.5965 | 0.599 | 0.599 | 1.135 | 1.135 | 1.0515 | 1.0515 | 0.041679 | 0.041679 | 0.041679 | 0.041679
H | 0.536 | 0.536 | 0.647 | 0.647 | 1.1735 | 1.1735 | 0.878 | 0.878 | 0.041679 | 0.041679 | 0.041679 | 0.041679
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting UNK calculation = Curve fitting UNK calculation where Data source: Meas B | 0.00065865 | 0.5177 | -227.2847 | 610.7943 | 1448.8733 | 0.99947 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting UNK calculation = Curve fitting UNK calculation where Data source: Meas B | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 307868 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 2: Curve fitting UNK calculation = Curve fitting UNK calculation where Data source: Meas B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2063.7682 | 1951.4171 | -14.7285 | -14.7285 | 1011.6147 | 955.4391 | 958.4756 | 1005.5417 | 540.9544 | 540.9544 | -723.7555 | -723.7555
B | 1502.0124 | 1412.4351 | -25.3563 | -28.3928 | 780.8393 | 768.6932 | 563.7283 | 565.2465 | 334.4711 | 334.4711 | -722.2372 | -723.7555
C | 1045.0164 | 1022.2425 | 179.6087 | 214.5287 | 853.7157 | 821.8323 | 554.6187 | 624.4586 | -722.2372 | -722.2372 | -723.7555 | -723.7555
D | 785.3941 | 735.2915 | 229.7113 | 203.9008 | 402.7928 | 408.8658 | 413.4206 | 437.7127 | -722.2372 | -722.2372 | -723.7555 | -723.7555
E | 542.4726 | 506.0344 | 240.3391 | 276.7773 | 402.7928 | 367.8728 | 873.4531 | 833.9784 | -720.7189 | -720.7189 | -722.2372 | -723.7555
F | 254.0034 | 214.5287 | 137.0974 | 144.6887 | 550.0639 | 527.29 | 692.7803 | 707.9629 | -722.2372 | -722.2372 | -720.7189 | -722.2372
G | 135.5792 | 103.6957 | 129.5062 | 117.3601 | 923.5557 | 950.8843 | 773.248 | 847.6427 | -722.2372 | -722.2372 | -722.2372 | -722.2372
H | 42.9654 | 12.6002 | 184.1635 | 208.4556 | 985.8043 | 1005.5417 | 553.1004 | 540.9544 | -723.7555 | -725.2737 | -723.7555 | -722.2372
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting UNK calculation Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting UNK calculation Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2007.5927 | 2007.5927 | -14.7285 | -14.7285 | 983.5269 | 983.5269 | 982.0086 | 982.0086 | 540.9544 | 540.9544 | -722.7252 | -722.7252
B | 1457.2237 | 1457.2237 | -26.8745 | -26.8745 | 774.7663 | 774.7663 | 564.4874 | 564.4874 | 334.4711 | 334.4711 | -722.7252 | -722.7252
C | 1033.6294 | 1033.6294 | 197.0687 | 197.0687 | 837.774 | 837.774 | 589.5387 | 589.5387 | -722.7252 | -722.7252 | -722.7252 | -722.7252
D | 760.3428 | 760.3428 | 216.8061 | 216.8061 | 405.8293 | 405.8293 | 425.5667 | 425.5667 | -722.7252 | -722.7252 | -722.7252 | -722.7252
E | 524.2535 | 524.2535 | 258.5582 | 258.5582 | 385.3328 | 385.3328 | 853.7157 | 853.7157 | -722.7252 | -722.7252 | -722.7252 | -722.7252
F | 234.266 | 234.266 | 140.8931 | 140.8931 | 538.677 | 538.677 | 700.3716 | 700.3716 | -722.7252 | -722.7252 | -722.7252 | -722.7252
G | 119.6375 | 119.6375 | 123.4331 | 123.4331 | 937.22 | 937.22 | 810.4454 | 810.4454 | -722.7252 | -722.7252 | -722.7252 | -722.7252
H | 27.7828 | 27.7828 | 196.3096 | 196.3096 | 995.673 | 995.673 | 547.0274 | 547.0274 | -722.7252 | -722.7252 | -722.7252 | -722.7252
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 307868 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 4: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.377 | 1.303 | 0.008 | 0.008 | 0.684 | 0.647 | 0.649 | 0.68 | 0.374 | 0.374 | -0.459 | -0.459
B | 1.007 | 0.948 | 0.001 | -0.001 | 0.532 | 0.524 | 0.389 | 0.39 | 0.238 | 0.238 | -0.458 | -0.459
C | 0.706 | 0.691 | 0.136 | 0.159 | 0.58 | 0.559 | 0.383 | 0.429 | -0.458 | -0.458 | -0.459 | -0.459
D | 0.535 | 0.502 | 0.169 | 0.152 | 0.283 | 0.287 | 0.29 | 0.306 | -0.458 | -0.458 | -0.459 | -0.459
E | 0.375 | 0.351 | 0.176 | 0.2 | 0.283 | 0.26 | 0.593 | 0.567 | -0.457 | -0.457 | -0.458 | -0.459
F | 0.185 | 0.159 | 0.108 | 0.113 | 0.38 | 0.365 | 0.474 | 0.484 | -0.458 | -0.458 | -0.457 | -0.458
G | 0.107 | 0.086 | 0.103 | 0.095 | 0.626 | 0.644 | 0.527 | 0.576 | -0.458 | -0.458 | -0.458 | -0.458
H | 0.046 | 0.026 | 0.139 | 0.155 | 0.667 | 0.68 | 0.382 | 0.374 | -0.459 | -0.46 | -0.459 | -0.458
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 5: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc4: Blank correction (Blanks on each plate) | 0.00065865 | 0.017701 | 380.0189 | 990.3591 | 1600.6992 | 0.99947 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 5: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc4: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 5: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc4: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2063.7682 | 1951.4171 | -14.7285 | -14.7285 | 1011.6147 | 955.4391 | 958.4756 | 1005.5417 | 540.9544 | 540.9544 | -723.7555 | -723.7555
B | 1502.0124 | 1412.4351 | -25.3563 | -28.3928 | 780.8393 | 768.6932 | 563.7283 | 565.2465 | 334.4711 | 334.4711 | -722.2372 | -723.7555
C | 1045.0164 | 1022.2425 | 179.6087 | 214.5287 | 853.7157 | 821.8323 | 554.6187 | 624.4586 | -722.2372 | -722.2372 | -723.7555 | -723.7555
D | 785.3941 | 735.2915 | 229.7113 | 203.9008 | 402.7928 | 408.8658 | 413.4206 | 437.7127 | -722.2372 | -722.2372 | -723.7555 | -723.7555
E | 542.4726 | 506.0344 | 240.3391 | 276.7773 | 402.7928 | 367.8728 | 873.4531 | 833.9784 | -720.7189 | -720.7189 | -722.2372 | -723.7555
F | 254.0034 | 214.5287 | 137.0974 | 144.6887 | 550.0639 | 527.29 | 692.7803 | 707.9629 | -722.2372 | -722.2372 | -720.7189 | -722.2372
G | 135.5792 | 103.6957 | 129.5062 | 117.3601 | 923.5557 | 950.8843 | 773.248 | 847.6427 | -722.2372 | -722.2372 | -722.2372 | -722.2372
H | 42.9654 | 12.6002 | 184.1635 | 208.4556 | 985.8043 | 1005.5417 | 553.1004 | 540.9544 | -723.7555 | -725.2737 | -723.7555 | -722.2372
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 6: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Meas B Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 307868 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 6: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Meas B Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.8438 | 2.8438 | 0 | 0 | 2.2448 | 2.2448 | 1.8824 | 1.8824 | 0 | 0 | 1.7343 | 1.7343
B | 2.8236 | 2.8236 | 0.28284 | 0.28284 | 0.55028 | 0.55028 | 0.079495 | 0.079495 | 0 | 0 | 1.7343 | 1.7343
C | 0.88499 | 0.88499 | 2.5117 | 2.5117 | 1.3884 | 1.3884 | 3.5902 | 3.5902 | 1.7343 | 1.7343 | 1.7343 | 1.7343
D | 2.2911 | 2.2911 | 1.82 | 1.82 | 0.36031 | 0.36031 | 1.4178 | 1.4178 | 1.7343 | 1.7343 | 1.7343 | 1.7343
E | 1.9665 | 1.9665 | 2.4667 | 2.4667 | 2.108 | 2.108 | 1.7023 | 1.7023 | 1.7343 | 1.7343 | 1.7343 | 1.7343
F | 2.7358 | 2.7358 | 0.57912 | 0.57912 | 1.2157 | 1.2157 | 0.72227 | 0.72227 | 1.7343 | 1.7343 | 1.7343 | 1.7343
G | 2.4894 | 2.4894 | 0.94438 | 0.94438 | 1.1214 | 1.1214 | 3.2951 | 3.2951 | 1.7343 | 1.7343 | 1.7343 | 1.7343
H | 2.6385 | 2.6385 | 1.7486 | 1.7486 | 0.78333 | 0.78333 | 0.64429 | 0.64429 | 1.7343 | 1.7343 | 1.7343 | 1.7343
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 7: Average of sample type = Average of samples where Measurement: Calc5: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 7: Average of sample type = Average of samples where Measurement: Calc5: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2007.5927 | 2007.5927 | -14.7285 | -14.7285 | 983.5269 | 983.5269 | 982.0086 | 982.0086 | 540.9544 | 540.9544 | -722.7252 | -722.7252
B | 1457.2237 | 1457.2237 | -26.8745 | -26.8745 | 774.7663 | 774.7663 | 564.4874 | 564.4874 | 334.4711 | 334.4711 | -722.7252 | -722.7252
C | 1033.6294 | 1033.6294 | 197.0687 | 197.0687 | 837.774 | 837.774 | 589.5387 | 589.5387 | -722.7252 | -722.7252 | -722.7252 | -722.7252
D | 760.3428 | 760.3428 | 216.8061 | 216.8061 | 405.8293 | 405.8293 | 425.5667 | 425.5667 | -722.7252 | -722.7252 | -722.7252 | -722.7252
E | 524.2535 | 524.2535 | 258.5582 | 258.5582 | 385.3328 | 385.3328 | 853.7157 | 853.7157 | -722.7252 | -722.7252 | -722.7252 | -722.7252
F | 234.266 | 234.266 | 140.8931 | 140.8931 | 538.677 | 538.677 | 700.3716 | 700.3716 | -722.7252 | -722.7252 | -722.7252 | -722.7252
G | 119.6375 | 119.6375 | 123.4331 | 123.4331 | 937.22 | 937.22 | 810.4454 | 810.4454 | -722.7252 | -722.7252 | -722.7252 | -722.7252
H | 27.7828 | 27.7828 | 196.3096 | 196.3096 | 995.673 | 995.673 | 547.0274 | 547.0274 | -722.7252 | -722.7252 | -722.7252 | -722.7252
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 27.9 | 27.8 | 25.9 | 25.9 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-01-20 12:29
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 307868 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.877 | 1.803 | 0.508 | 0.508 | 1.184 | 1.147 | 1.149 | 1.18 | 0.874 | 0.874 | 0.041 | 0.041
B | 1.507 | 1.448 | 0.501 | 0.499 | 1.032 | 1.024 | 0.889 | 0.89 | 0.738 | 0.738 | 0.042 | 0.041
C | 1.206 | 1.191 | 0.636 | 0.659 | 1.08 | 1.059 | 0.883 | 0.929 | 0.042 | 0.042 | 0.041 | 0.041
D | 1.035 | 1.002 | 0.669 | 0.652 | 0.783 | 0.787 | 0.79 | 0.806 | 0.042 | 0.042 | 0.041 | 0.041
E | 0.875 | 0.851 | 0.676 | 0.7 | 0.783 | 0.76 | 1.093 | 1.067 | 0.043 | 0.043 | 0.042 | 0.041
F | 0.685 | 0.659 | 0.608 | 0.613 | 0.88 | 0.865 | 0.974 | 0.984 | 0.042 | 0.042 | 0.043 | 0.042
G | 0.607 | 0.586 | 0.603 | 0.595 | 1.126 | 1.144 | 1.027 | 1.076 | 0.042 | 0.042 | 0.042 | 0.042
H | 0.546 | 0.526 | 0.639 | 0.655 | 1.167 | 1.18 | 0.882 | 0.874 | 0.041 | 0.04 | 0.041 | 0.042
Basic assay information
Assay ID: |  |  |  | 1693
Assay Started: |  |  |  | 2021-01-20 12:28
Assay Finished: |  |  |  | 2021-01-20 12:29
Assay Exported: |  |  |  | 2021-01-20 13:16
Assay Started By: |  |  |  | N/A
Protocol ID: |  |  |  | 100175
Protocol Name: |  |  |  | Sameer Aryal BCA Gold
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23 | - | -
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24 | - | -
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17 | - | - | - | -
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18 | - | - | - | -
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19 | - | - | - | -
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20 | - | - | - | -
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21 | - | - | - | -
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22 | - | - | - | -
STD - Standard
UNK - Unknown
- - Undefined
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: B Sample: All samples
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting UNK calculation
Formula |  |  |  | Curve fitting UNK calculation where Data source: B
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting UNK calculation Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 5
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 4: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 6
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: B Sample: All samples
Formula index |  |  |  | Calc 7
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 5: Curve fitting (blank corrected) Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\01_20_21_Plate_1.csv
Exported data |  |  |  | MeasB:Result Calc1:Average of sample type Calc2:Curve fitting UNK calculation Calc3:Average of sample type Calc4:Blank correction (Blanks on each plate) Calc5:Curve fitting (blank corrected) Calc6:%CV of sample type Calc7:Average of sample type
Operations:
Plate 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63507
Last edited |  |  |  | 2021-01-20 12:08
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Assay notifications:
INFO: Results re-calculated 1/20/2021 12:34:38 PM
INFO: Results re-calculated 1/20/2021 1:01:19 PM
INFO: Results re-calculated 1/20/2021 1:02:53 PM
INFO: Results re-calculated 1/20/2021 1:03:24 PM
INFO: Results re-calculated 1/20/2021 1:04:16 PM
INFO: Results re-calculated 1/20/2021 1:05:31 PM
INFO: Results re-calculated 1/20/2021 1:10:25 PM
INFO: Results re-calculated 1/20/2021 1:11:08 PM
INFO: Results re-calculated 1/20/2021 1:12:55 PM
INFO: Results re-calculated 1/20/2021 1:14:38 PM
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet2
Calculated results: Calc 7: Average of sample type = Average of samples where Measurement: Calc5: Curve fitting (blank corrected) Sample: All samples
|  |  | 1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | A | 1: 2007.5927
|  | B | 1: 1457.2237
|  | C | 1: 1033.6294
|  | D | 1: 760.3428
|  | E | 1: 524.2535
|  | F | 1: 234.266
|  | G | 1: 119.6375
|  | H | 1: 27.7828
|  | I | 1: -14.7285
|  | Blank | 1: -26.8745; 3: 10/1.5 fold dilution; 4: In ug ul; 5: To load 15ug; 7: Cerebellum (S6) Nuclear vs Cytoplasmic
Nuc1 | S1 | S1 | 197.0687 | 1313.7912 | 1.3138 | 11.4173 |  | 3.8205 | 7.641 | 11.4615 | 1.3923 | 2.7846 | 4.1769 | 1.7624 | 3.5247 | 5.2871 | 2.2423 | 4.4847 | 6.727
Nuc1 | S2 | S2 | 216.8061 | 1445.3737 | 1.4454 | 10.3779 |  | N1 | N1 | N1 | N2 | N2 | N2 | Lys | Lys | Lys | Cyto | Cyto | Cyto
Nuc1 | S3 | S3 | 1: 258.5582; 3: 1723.7212; 4: 1.7237; 5: 8.7021
Nuc1 | S4 | S4 | 1: 140.8931; 3: 939.2873; 4: 0.93929; 5: 15.9696; 7: Bsong PSD
Nuc1 | S5 | S5 | 1: 123.4331; 3: 822.8874; 4: 0.82289; 5: 18.2285; 7: S1 |  | S2 | [6 empty] | S3
Nuc1 | S6 | S6 | 196.3096 | 1308.7304 | 1.3087 | 11.4615 |  | N1 | N2 | Lys | Cyto | S2 | P1 | PSD | N1 | N2 | Lys | Cyto | S2 | P1 | PSD | N1 | N2 | Lys | Cyto | S2 | P1 | PSD
Nuc2 | S1 | S7 | 983.5269 | 6556.846 | 6.5568 | 2.2877 |  | 10 | 10 | 20 | 15 | 12.5 | 10 | 7.5 | 10 | 10 | 20 | 15 | 12.5 | 10 | 7.5 | 10 | 10 | 20 | 15 | 12.5 | 10 | 7.5
Nuc2 | S2 | S8 | 774.7663 | 5165.1085 | 5.1651 | 2.9041 |  | 7.6116 | 1.5251 | 3.201 | 2.6355 | 8.8404 | 9.8126 | 14.1634 | 6.9186 | 1.9361 | 3.013 | 3.2126 | 8.4896 | 7.3444 | 10.4912 | 5.8014 | 1.7905 | 3.055 | 2.7763 | 8.4896 | 10.3014 | 12.844
Nuc2 | S3 | S9 | 1: 837.774; 3: 5585.1602; 4: 5.5852; 5: 2.6857
Nuc2 | S4 | S10 | 405.8293 | 2705.5287 | 2.7055 | 5.5442 |  | N1 | N1 | N1 | N2 | N2 | N2 | Lys | Lys | Lys | Cyto | Cyto | Cyto | S2 | S2 | S2 | P1 | P1 | P1 | PSD | PSD | PSD
Nuc2 | S5 | S11 | 385.3328 | 2568.8854 | 2.5689 | 5.8391 |  | 10 | 10 | 10 | 10 | 10 | 10 | 20 | 20 | 20 | 15 | 15 | 15 | 12.5 | 12.5 | 12.5 | 10 | 10 | 10 | 7.5 | 7.5 | 7.5
Nuc2 | S6 | S12 | 538.677 | 3591.1799 | 3.5912 | 4.1769 |  | 7.6116 | 6.9186 | 5.8014 | 1.5251 | 1.9361 | 1.7905 | 3.201 | 3.013 | 3.055 | 2.6355 | 3.2126 | 2.7763 | 8.8404 | 8.4896 | 8.4896 | 9.8126 | 7.3444 | 10.3014 | 14.1634 | 10.4912 | 12.844
Lys | S1 | S13 | 1: 937.22; 3: 6248.1333; 4: 6.2481; 5: 2.4007
Lys | S2 | S14 | 995.673 | 6637.8198 | 6.6378 | 2.2598 |  | N1 | 3.8205 |  | S1 | N1 | 10 | 7.6116
Lys | S3 | S15 | 982.0086 | 6546.7243 | 6.5467 | 2.2912 |  | N1 | 7.641 |  | S2 | N1 | 10 | 6.9186
Lys | S4 | S16 | 564.4874 | 3763.2492 | 3.7632 | 3.9859 |  | N1 | 11.4615 |  | S3 | N1 | 10 | 5.8014
Lys | S5 | S17 | 589.5387 | 3930.2577 | 3.9303 | 3.8165 |  | N2 | 1.3923 |  | S1 | N2 | 10 | 1.5251
Lys | S6 | S18 | 425.5667 | 2837.1112 | 2.8371 | 5.2871 |  | N2 | 2.7846 |  | S2 | N2 | 10 | 1.9361
Cyto | S1 | S19 | 853.7157 | 5691.4383 | 5.6914 | 2.6355 |  | N2 | 4.1769 |  | S3 | N2 | 10 | 1.7905
Cyto | S2 | S20 | 700.3716 | 4669.1438 | 4.6691 | 3.2126 |  | Lys | 1.7624 |  | S1 | Lys | 20 | 3.201
Cyto | S3 | S21 | 810.4454 | 5402.9691 | 5.403 | 2.7763 |  | Lys | 3.5247 |  | S2 | Lys | 20 | 3.013
Cyto | S4 | S22 | 547.0274 | 3646.8494 | 3.6468 | 4.1131 |  | Lys | 5.2871 |  | S3 | Lys | 20 | 3.055
Cyto | S5 | S23 | 540.9544 | 3606.3625 | 3.6064 | 4.1593 |  | Cyto | 2.2423 |  | S1 | Cyto | 15 | 2.6355
Cyto | S6 | S24 | 334.4711 | 2229.8075 | 2.2298 | 6.727 |  | Cyto | 4.4847 |  | S2 | Cyto | 15 | 3.2126
|  |  | 1: -722.7252; 7: Cyto; 8: 6.727; 10: S3; 11: Cyto; 12: 15 | 2.7763
|  |  | 1: -722.7252; 10: S1; 11: S2; 12: 12.5 | 8.8404
|  |  | 1: -722.7252; 10: S2; 11: S2; 12: 12.5 | 8.4896
|  |  | 1: -722.7252; 10: S3; 11: S2; 12: 12.5 | 8.4896
|  |  | 1: -722.7252; 10: S1; 11: P1; 12: 10 | 9.8126
|  |  | 1: -722.7252; 10: S2; 11: P1; 12: 10 | 7.3444
|  |  | 1: -722.7252; 10: S3; 11: P1; 12: 10 | 10.3014
|  |  | 1: -722.7252; 10: S1; 11: PSD; 12: 7.5 | 14.1634
|  |  | 1: -722.7252; 10: S2; 11: PSD; 12: 7.5 | 10.4912
|  |  | 1: -722.7252; 10: S3; 11: PSD; 12: 7.5 | 12.844
-722.7252
-722.7252
-722.7252
-722.7252

## Self_computed_curve
2000 | 1.377 | 1.303
1500 | 1.007 | 0.948
1000 | 0.706 | 0.691
750 | 0.535 | 0.502
500 | 0.375 | 0.351
250 | 0.185 | 0.159
125 | 0.107 | 0.086
25 | 0.046 | 0.026
0 | 0.008 | 0.008
Blank | 0.001 | -0.001 | In ug/ml | (10/1.5) fold dilution | In ug ul | To load 15ug
S1 | 0.136 | 0.159 | 185.2795 | 1235.1967 | 1.2352 | 12.1438
S2 | 0.169 | 0.152 | 204.5845 | 1363.8967 | 1.3639 | 10.9979
S3 | 0.176 | 0.2 | 245.422 | 1636.1467 | 1.6361 | 9.1679
S4 | 0.108 | 0.113 | 130.3345 | 868.8967 | 0.8689 | 17.2633
S5 | 0.103 | 0.095 | 113.257 | 755.0467 | 0.75505 | 19.8663
S6 | 0.139 | 0.155 | 184.537 | 1230.2467 | 1.2302 | 12.1927
S7 | 0.684 | 0.647 | 954.5095 | 6363.3967 | 6.3634 | 2.3572
S8 | 0.532 | 0.524 | 750.322 | 5002.1467 | 5.0021 | 2.9987
S9 | 0.58 | 0.559 | 811.9495 | 5412.9967 | 5.413 | 2.7711
S10 | 0.283 | 0.287 | 389.467 | 2596.4467 | 2.5964 | 5.7771
S11 | 0.283 | 0.26 | 369.4195 | 2462.7967 | 2.4628 | 6.0906
S12 | 0.38 | 0.365 | 519.4045 | 3462.6967 | 3.4627 | 4.3319
S13 | 0.626 | 0.644 | 909.217 | 6061.4467 | 6.0614 | 2.4747
S14 | 0.667 | 0.68 | 966.3895 | 6442.5967 | 6.4426 | 2.3283
S15 | 0.649 | 0.68 | 953.0245 | 6353.4967 | 6.3535 | 2.3609
S16 | 0.389 | 0.39 | 544.6495 | 3630.9967 | 3.631 | 4.1311
S17 | 0.383 | 0.429 | 569.152 | 3794.3467 | 3.7943 | 3.9532
S18 | 0.29 | 0.306 | 408.772 | 2725.1467 | 2.7251 | 5.5043
S19 | 0.593 | 0.567 | 827.542 | 5516.9467 | 5.5169 | 2.7189
S20 | 0.474 | 0.484 | 677.557 | 4517.0467 | 4.517 | 3.3208
S21 | 0.527 | 0.576 | 785.2195 | 5234.7967 | 5.2348 | 2.8654
S22 | 0.382 | 0.374 | 527.572 | 3517.1467 | 3.5171 | 4.2648
S23 | 0.374 | 0.374 | 521.632 | 3477.5467 | 3.4775 | 4.3134
S24 | 0.238 | 0.238 | 319.672 | 2131.1467 | 2.1311 | 7.0385