## 01_20_21_SA_Plate_2
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308037 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.2725 | 1.2435 | 0.0155 | 0.0075 | 0.2645 | 0.2665 | 0.0805 | 0.0705 | 0.1635 | 0.1635 | -0.4735 | -0.4745
B | 0.9515 | 0.9065 | -0.0005 | 0.0005 | 0.2955 | 0.4055 | 0.0565 | 0.0595 | 0.0645 | 0.0655 | -0.4735 | -0.4745
C | 0.6605 | 0.6175 | 0.3695 | 0.3575 | 0.2875 | 0.2195 | 0.0885 | 0.0915 | -0.4735 | -0.4735 | -0.4735 | -0.4715
D | 0.5045 | 0.4535 | 0.3725 | 0.3835 | 0.2885 | 0.2745 | 0.0315 | 0.0345 | -0.4735 | -0.4735 | -0.4705 | -0.4745
E | 0.3515 | 0.3275 | 0.3765 | 0.3795 | 0.2145 | 0.2845 | 0.1375 | 0.1505 | -0.4725 | -0.4735 | -0.4735 | -0.4735
F | 0.1685 | 0.1475 | 0.1665 | 0.1655 | 0.1145 | 0.1295 | 0.1955 | 0.1845 | -0.4725 | -0.4735 | -0.4735 | -0.4735
G | 0.0965 | 0.0785 | 0.2725 | 0.2865 | 0.0485 | 0.0545 | 0.1535 | 0.1615 | -0.4735 | -0.4735 | -0.4745 | -0.4735
H | 0.0375 | 0.0175 | 0.3005 | 0.2935 | 0.0655 | 0.0665 | 0.1425 | 0.1485 | -0.4745 | -0.4735 | -0.4755 | -0.4745
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | 0.00062045 | 0.012579 | 385.2356 | 993.5011 | 1601.7666 | 0.99979 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2030.6469 | 1983.9069 | 4.707 | -8.1868 | 406.0269 | 409.2503 | 109.4693 | 93.352 | 243.2425 | 243.2425 | -783.4271 | -785.0388
B | 1513.2828 | 1440.7551 | -21.0806 | -19.4688 | 455.9904 | 633.2803 | 70.7878 | 75.623 | 83.6816 | 85.2934 | -783.4271 | -785.0388
C | 1044.2705 | 974.9662 | 575.2581 | 555.9174 | 443.0966 | 333.4992 | 122.3631 | 127.1982 | -783.4271 | -783.4271 | -783.4271 | -780.2036
D | 792.8412 | 710.6431 | 580.0933 | 597.8223 | 444.7083 | 422.1441 | 30.4947 | 35.3298 | -783.4271 | -783.4271 | -778.5919 | -785.0388
E | 546.2471 | 507.5656 | 586.5402 | 591.3754 | 325.4406 | 438.2614 | 201.3376 | 222.2901 | -781.8154 | -783.4271 | -783.4271 | -783.4271
F | 251.3012 | 217.4549 | 248.0777 | 246.466 | 164.2679 | 188.4438 | 294.8178 | 277.0888 | -781.8154 | -783.4271 | -783.4271 | -783.4271
G | 135.2569 | 106.2458 | 418.9207 | 441.4849 | 57.894 | 67.5644 | 227.1253 | 240.0191 | -783.4271 | -783.4271 | -785.0388 | -783.4271
H | 40.165 | 7.9305 | 464.049 | 452.7669 | 85.2934 | 86.9051 | 209.3963 | 219.0666 | -785.0388 | -783.4271 | -786.6505 | -785.0388
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2007.2769 | 2007.2769 | -1.7399 | -1.7399 | 407.6386 | 407.6386 | 101.4106 | 101.4106 | 243.2425 | 243.2425 | -783.4846 | -783.4846 | 250 | 625 | 0.625
B | 1477.019 | 1477.019 | -20.2747 | -20.2747 | 544.6353 | 544.6353 | 73.2054 | 73.2054 | 84.4875 | 84.4875 | -783.4846 | -783.4846
C | 1009.6184 | 1009.6184 | 565.5878 | 565.5878 | 388.2979 | 388.2979 | 124.7807 | 124.7807 | -783.4846 | -783.4846 | -783.4846 | -783.4846
D | 751.7422 | 751.7422 | 588.9578 | 588.9578 | 433.4262 | 433.4262 | 32.9123 | 32.9123 | -783.4846 | -783.4846 | -783.4846 | -783.4846
E | 526.9063 | 526.9063 | 588.9578 | 588.9578 | 381.851 | 381.851 | 211.8139 | 211.8139 | -783.4846 | -783.4846 | -783.4846 | -783.4846
F | 234.378 | 234.378 | 247.2718 | 247.2718 | 176.3559 | 176.3559 | 285.9533 | 285.9533 | -783.4846 | -783.4846 | -783.4846 | -783.4846
G | 120.7513 | 120.7513 | 430.2028 | 430.2028 | 62.7292 | 62.7292 | 233.5722 | 233.5722 | -783.4846 | -783.4846 | -783.4846 | -783.4846
H | 24.0478 | 24.0478 | 458.408 | 458.408 | 86.0992 | 86.0992 | 214.2315 | 214.2315 | -783.4846 | -783.4846 | -783.4846 | -783.4846
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.6465 | 1.6465 | -524.0261 | -524.0261 | 0.55915 | 0.55915 | 11.2381 | 11.2381 | 0 | 0 | -0.19781 | -0.19781
B | 3.4722 | 3.4722 | -5.6211 | -5.6211 | 23.0178 | 23.0178 | 4.6704 | 4.6704 | 1.3489 | 1.3489 | -0.19781 | -0.19781
C | 4.8539 | 4.8539 | 2.418 | 2.418 | 19.9581 | 19.9581 | 2.74 | 2.74 | -0.19781 | -0.19781 | -0.19781 | -0.19781
D | 7.7317 | 7.7317 | 2.1286 | 2.1286 | 3.6812 | 3.6812 | 10.3882 | 10.3882 | -0.19781 | -0.19781 | -0.19781 | -0.19781
E | 5.191 | 5.191 | 0.58051 | 0.58051 | 20.892 | 20.892 | 6.9946 | 6.9946 | -0.19781 | -0.19781 | -0.19781 | -0.19781
F | 10.2112 | 10.2112 | 0.46089 | 0.46089 | 9.6934 | 9.6934 | 4.384 | 4.384 | -0.19781 | -0.19781 | -0.19781 | -0.19781
G | 16.9886 | 16.9886 | 3.7088 | 3.7088 | 10.9008 | 10.9008 | 3.9034 | 3.9034 | -0.19781 | -0.19781 | -0.19781 | -0.19781
H | 94.7832 | 94.7832 | 1.7403 | 1.7403 | 1.3237 | 1.3237 | 3.1919 | 3.1919 | -0.19781 | -0.19781 | -0.19781 | -0.19781
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 5: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Meas B Sample: All samples | N/A | N/A | N/A | N/A | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308037 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 5: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Meas B Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1563 | 1.1563 | 1.0734 | 1.0734 | 0.18108 | 0.18108 | 1.1965 | 1.1965 | 0 | 0 | 2.2914 | 2.2914
B | 2.2028 | 2.2028 | 0.13717 | 0.13717 | 8.9817 | 8.9817 | 0.36989 | 0.36989 | 0.12181 | 0.12181 | 2.2914 | 2.2914
C | 2.6337 | 2.6337 | 0.96533 | 0.96533 | 6.2527 | 6.2527 | 0.35034 | 0.35034 | 2.2914 | 2.2914 | 2.2914 | 2.2914
D | 3.6262 | 3.6262 | 0.87053 | 0.87053 | 1.2421 | 1.2421 | 0.38675 | 0.38675 | 2.2914 | 2.2914 | 2.2914 | 2.2914
E | 1.9849 | 1.9849 | 0.23742 | 0.23742 | 6.4703 | 6.4703 | 1.3938 | 1.3938 | 2.2914 | 2.2914 | 2.2914 | 2.2914
F | 2.2048 | 2.2048 | 0.10376 | 0.10376 | 1.6638 | 1.6638 | 1.1025 | 1.1025 | 2.2914 | 2.2914 | 2.2914 | 2.2914
G | 2.1108 | 2.1108 | 1.2452 | 1.2452 | 0.74826 | 0.74826 | 0.84054 | 0.84054 | 2.2914 | 2.2914 | 2.2914 | 2.2914
H | 2.6044 | 2.6044 | 0.6092 | 0.6092 | 0.1216 | 0.1216 | 0.64185 | 0.64185 | 2.2914 | 2.2914 | 2.2914 | 2.2914
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 28.15 | 28.1 | 26.1 | 26.1 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-01-20 14:42
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308037 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.788 | 1.759 | 0.531 | 0.523 | 0.78 | 0.782 | 0.596 | 0.586 | 0.679 | 0.679 | 0.042 | 0.041
B | 1.467 | 1.422 | 0.515 | 0.516 | 0.811 | 0.921 | 0.572 | 0.575 | 0.58 | 0.581 | 0.042 | 0.041
C | 1.176 | 1.133 | 0.885 | 0.873 | 0.803 | 0.735 | 0.604 | 0.607 | 0.042 | 0.042 | 0.042 | 0.044
D | 1.02 | 0.969 | 0.888 | 0.899 | 0.804 | 0.79 | 0.547 | 0.55 | 0.042 | 0.042 | 0.045 | 0.041
E | 0.867 | 0.843 | 0.892 | 0.895 | 0.73 | 0.8 | 0.653 | 0.666 | 0.043 | 0.042 | 0.042 | 0.042
F | 0.684 | 0.663 | 0.682 | 0.681 | 0.63 | 0.645 | 0.711 | 0.7 | 0.043 | 0.042 | 0.042 | 0.042
G | 0.612 | 0.594 | 0.788 | 0.802 | 0.564 | 0.57 | 0.669 | 0.677 | 0.042 | 0.042 | 0.041 | 0.042
H | 0.553 | 0.533 | 0.816 | 0.809 | 0.581 | 0.582 | 0.658 | 0.664 | 0.041 | 0.042 | 0.04 | 0.041
Basic assay information
Assay ID: |  |  |  | 1694
Assay Started: |  |  |  | 2021-01-20 14:42
Assay Finished: |  |  |  | 2021-01-20 14:43
Assay Exported: |  |  |  | 2021-01-20 14:49
Assay Started By: |  |  |  | N/A
Protocol ID: |  |  |  | 100175
Protocol Name: |  |  |  | Sameer Aryal BCA Gold
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23 | - | -
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24 | - | -
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17 | - | - | - | -
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18 | - | - | - | -
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19 | - | - | - | -
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20 | - | - | - | -
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21 | - | - | - | -
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22 | - | - | - | -
STD - Standard
UNK - Unknown
- - Undefined
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 1: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 5
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: B Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\01_20_21_SA_Plate_2.csv
Exported data |  |  |  | MeasB:Result Calc1:Blank correction (Blanks on each plate) Calc2:Curve fitting (blank corrected) Calc3:Average of sample type Calc4:%CV of sample type Calc5:%CV of sample type
Operations:
Plate 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63507
Last edited |  |  |  | 2021-01-20 12:08
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Assay notifications:
WARNING: A01: Curve("P3436_WA01_L1_R1_M0") 'Fitting failed: Input string was not in a correct format. at System.Number.StringToNumber(String str NumberStyles options NumberBuffer& number NumberFormatInfo info Boolean parseDecimal)
at System.Number.ParseDouble(String value NumberStyles options NumberFormatInfo numfmt)
at System.Double.Parse(String s NumberStyles style NumberFormatInfo info)
at PKI.ELCP.Calc.Calculator.SetCalibrators(String identifier)
at PKI.ELCP.Calc.Calculator.Curve(String identifier)
INFO: Results re-calculated 1/20/2021 2:45:40 PM
INFO: Results re-calculated 1/20/2021 2:46:44 PM
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet1
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
|  |  | 1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | A | 1: 2007.2769; 11: -783.4846; 12: -783.4846
|  | B | 1: 1477.019; 11: -783.4846; 12: -783.4846
|  | C | 1: 1009.6184; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | D | 1: 751.7422; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | E | 1: 526.9063; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | F | 1: 234.378; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | G | 1: 120.7513; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | H | 1: 24.0478; 9: -783.4846; 10: -783.4846; 11: -783.4846; 12: -783.4846
|  | I | 1: -1.7399
|  | Blank | 1: -20.2747; 3: 10/4 fold dilution; 4: In ug ul; 5: To load 7.5 ug
S2 | S1 | S1 | 1: 565.5878; 3: 1413.9694; 4: 1.414; 5: 5.3042
S2 | S2 | S2 | 1: 588.9578; 3: 1472.3945; 4: 1.4724; 5: 5.0937
S2 | S3 | S3 | 1: 588.9578; 3: 1472.3945; 4: 1.4724; 5: 5.0937
S2 | S4 | S4 | 1: 247.2718; 3: 618.1796; 4: 0.61818; 5: 12.1324
S2 | S5 | S5 | 1: 430.2028; 3: 1075.5069; 4: 1.0755; 5: 6.9735
S2 | S6 | S6 | 1: 458.408; 3: 1146.02; 4: 1.146; 5: 6.5444
P2 | S1 | S7 | 1: 407.6386; 3: 1019.0965; 4: 1.0191; 5: 7.3595
P2 | S2 | S8 | 1: 544.6353; 3: 1361.5883; 4: 1.3616; 5: 5.5083
P2 | S3 | S9 | 1: 388.2979; 3: 970.7447; 4: 0.97074; 5: 7.726
P2 | S4 | S10 | 1: 433.4262; 3: 1083.5656; 4: 1.0836; 5: 6.9216
P2 | S5 | S11 | 1: 381.851; 3: 954.6275; 4: 0.95463; 5: 7.8565
P2 | S6 | S12 | 1: 176.3559; 3: 440.8897; 4: 0.44089; 5: 17.0111
Syn | S1 | S13 | 1: 62.7292; 3: 156.823; 4: 0.15682; 5: 47.8246
Syn | S2 | S14 | 1: 86.0992; 3: 215.2481; 4: 0.21525; 5: 34.8435
Syn | S3 | S15 | 1: 101.4106; 3: 253.5266; 4: 0.25353; 5: 29.5827; 7: Too dilute
Syn | S4 | S16 | 1: 73.2054; 3: 183.0135; 4: 0.18301; 5: 40.9806
Syn | S5 | S17 | 1: 124.7807; 3: 311.9516; 4: 0.31195; 5: 24.0422
Syn | S6 | S18 | 1: 32.9123; 3: 82.2806; 4: 0.082281; 5: 91.1514
PSD | S1 | S19 | 1: 211.8139; 3: 529.5347; 4: 0.52953; 5: 14.1634
PSD | S2 | S20 | 1: 285.9533; 3: 714.8832; 4: 0.71488; 5: 10.4912
PSD | S3 | S21 | 1: 233.5722; 3: 583.9304; 4: 0.58393; 5: 12.844
PSD | S4 | S22 | 1: 214.2315; 3: 535.5786; 4: 0.53558; 5: 14.0035
PSD | S5 | S23 | 1: 243.2425; 3: 608.1063; 4: 0.60811; 5: 12.3334
PSD | S6 | S24 | 1: 84.4875; 3: 211.2187; 4: 0.21122; 5: 35.5082; 7: Too dilute