## 02_17_21_BCA_Plate_1
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-02-17 12:23
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308920 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.9845 | 1.9245 | -0.0065 | -0.0075 | 1.0235 | 1.0595 | 0.1905 | 0.2055 | 0.3425 | 0.3935
B | 1.4935 | 1.3265 | 0.0015 | -0.0015 | 0.5165 | 0.5375 | 0.1005 | 0.1225 | 0.4825 | 0.5295
C | 1.0995 | 0.9625 | 0.1915 | 0.3065 | 0.9145 | 0.9735 | 0.0695 | 0.0865
D | 0.7875 | 0.7425 | 0.1225 | 0.1145 | 0.8435 | 0.8625 | 0.1265 | 0.1635
E | 0.5835 | 0.4905 | 0.3765 | 0.3665 | 0.7065 | 0.7415 | 0.4155 | 0.4605
F | 0.2735 | 0.2585 | 0.2915 | 0.2835 | 0.9665 | 0.9845 | 0.2005 | 0.1895
G | 0.1255 | 0.0905 | 0.2095 | 0.2325 | 0.1355 | 0.1295 | 0.5445 | 0.5705
H | 0.0295 | 0.0105 | 0.3595 | 0.4085 | 0.0585 | 0.0675 | 0.4005 | 0.4295
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | 0.00096985 | 0.013323 | 389.314 | 993.8901 | 1598.4663 | 0.99875 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-02-17 12:23
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2032.4496 | 1970.5846 | -20.4389 | -21.47 | 1041.5778 | 1078.6968 | 182.6847 | 198.151 | 339.4095 | 391.9948
B | 1526.1873 | 1353.9963 | -12.1902 | -15.2835 | 518.8181 | 540.4709 | 89.8871 | 112.571 | 483.7613 | 532.2222
C | 1119.9402 | 978.6817 | 183.7158 | 302.2905 | 929.1896 | 990.0236 | 57.9235 | 75.452
D | 798.2419 | 751.8431 | 112.571 | 104.3223 | 855.9826 | 875.5732 | 116.6953 | 154.8454
E | 587.9008 | 492.0099 | 374.4664 | 364.1555 | 714.7241 | 750.8121 | 414.6786 | 461.0774
F | 268.2647 | 252.7984 | 286.8242 | 278.5755 | 982.806 | 1001.3655 | 192.9955 | 181.6536
G | 115.6642 | 79.5763 | 202.2753 | 225.9902 | 125.9751 | 119.7886 | 547.6885 | 574.4967
H | 16.6802 | -2.9104 | 356.9379 | 407.461 | 46.5816 | 55.8614 | 399.2124 | 429.1138
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-17 12:23
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2001.5171 | 2001.5171 | -20.9544 | -20.9544 | 1060.1373 | 1060.1373 | 190.4178 | 190.4178 | 365.7021 | 365.7021
B | 1440.0918 | 1440.0918 | -13.7368 | -13.7368 | 529.6445 | 529.6445 | 101.2291 | 101.2291 | 507.9917 | 507.9917
C | 1049.3109 | 1049.3109 | 243.0031 | 243.0031 | 959.6066 | 959.6066 | 66.6877 | 66.6877
D | 775.0425 | 775.0425 | 108.4466 | 108.4466 | 865.7779 | 865.7779 | 135.7704 | 135.7704
E | 539.9554 | 539.9554 | 369.3109 | 369.3109 | 732.7681 | 732.7681 | 437.878 | 437.878
F | 260.5316 | 260.5316 | 282.6999 | 282.6999 | 992.0858 | 992.0858 | 187.3246 | 187.3246
G | 97.6203 | 97.6203 | 214.1328 | 214.1328 | 122.8818 | 122.8818 | 561.0926 | 561.0926
H | 6.8849 | 6.8849 | 382.1995 | 382.1995 | 51.2215 | 51.2215 | 414.1631 | 414.1631
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-17 12:23
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.1856 | 2.1856 | -3.4794 | -3.4794 | 2.4758 | 2.4758 | 5.7433 | 5.7433 | 10.1677 | 10.1677
B | 8.4548 | 8.4548 | -15.9226 | -15.9226 | 2.8908 | 2.8908 | 15.8452 | 15.8452 | 6.7456 | 6.7456
C | 9.5191 | 9.5191 | 34.5037 | 34.5037 | 4.4827 | 4.4827 | 18.5858 | 18.5858
D | 4.2332 | 4.2332 | 5.3784 | 5.3784 | 1.6 | 1.6 | 19.869 | 19.869
E | 12.5575 | 12.5575 | 1.9742 | 1.9742 | 3.4824 | 3.4824 | 7.4927 | 7.4927
F | 4.1977 | 4.1977 | 2.0632 | 2.0632 | 1.3228 | 1.3228 | 4.2813 | 4.2813
G | 26.1401 | 26.1401 | 7.8311 | 7.8311 | 3.5599 | 3.5599 | 3.3785 | 3.3785
H | 201.2046 | 201.2046 | 9.3473 | 9.3473 | 12.8106 | 12.8106 | 5.1051 | 5.1051
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 26.55 | 26.55 | 25.2 | 25 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-02-17 12:23
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308920 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.639 | 2.579 | 0.648 | 0.647 | 1.678 | 1.714 | 0.845 | 0.86 | 0.997 | 1.048
B | 2.148 | 1.981 | 0.656 | 0.653 | 1.171 | 1.192 | 0.755 | 0.777 | 1.137 | 1.184
C | 1.754 | 1.617 | 0.846 | 0.961 | 1.569 | 1.628 | 0.724 | 0.741
D | 1.442 | 1.397 | 0.777 | 0.769 | 1.498 | 1.517 | 0.781 | 0.818
E | 1.238 | 1.145 | 1.031 | 1.021 | 1.361 | 1.396 | 1.07 | 1.115
F | 0.928 | 0.913 | 0.946 | 0.938 | 1.621 | 1.639 | 0.855 | 0.844
G | 0.78 | 0.745 | 0.864 | 0.887 | 0.79 | 0.784 | 1.199 | 1.225
H | 0.684 | 0.665 | 1.014 | 1.063 | 0.713 | 0.722 | 1.055 | 1.084
Basic assay information
Assay ID: |  |  |  | 1746
Assay Started: |  |  |  | 2021-02-17 12:21
Assay Finished: |  |  |  | 2021-02-17 12:24
Assay Exported: |  |  |  | 2021-02-17 12:29
Assay Started By: |  |  |  | N/A
Protocol ID: |  |  |  | 100175
Protocol Name: |  |  |  | Sameer Aryal BCA Gold
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22
STD - Standard
UNK - Unknown
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 1: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\02_17_21_BCA_Plate_1.csv
Exported data |  |  |  | MeasB:Result Calc1:Blank correction (Blanks on each plate) Calc2:Curve fitting (blank corrected) Calc3:Average of sample type Calc4:%CV of sample type
Operations:
Plate 1
Shake
Duration |  |  |  | 60 s
Speed |  |  |  | 500
Diameter |  |  |  | 3 mm
Shake mode |  |  |  | Linear
Plate location |  |  |  | Inside
First assay/plate repeat affected |  |  |  | 1
Last assay/plate repeat affected |  |  |  | 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63609
Last edited |  |  |  | 2021-01-25 17:15
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet1
Hippocampus |  |  | Volume lysate | Accountin for dilution | In ug ul | To load 6 ug | 2ug | 50uL of 2ug/5ul dilution | Volume 6x sample buffer | Volume water
S1 | Nuc | 243.0031 | 2 | 1215.0156 | 1.215 | 4.9382 | 1.6461 | 16.4607 | 8.3333 | 25.206
S2 | Nuc | 108.4466 | 2 | 542.2332 | 0.54223 | 11.0653 | 3.6884 | 36.8845 | 8.3333 | 4.7822
S3 | Nuc | 369.3109 | 2 | 1846.5547 | 1.8466 | 3.2493 | 1.0831 | 10.831 | 8.3333 | 30.8357
S4 | Nuc | 282.6999 | 2 | 1413.4993 | 1.4135 | 4.2448 | 1.4149 | 14.1493 | 8.3333 | 27.5174
S5 | Nuc | 214.1328 | 2 | 1070.6638 | 1.0707 | 5.604 | 1.868 | 18.68 | 8.3333 | 22.9867
S6 | Nuc | 382.1995 | 2 | 1910.9974 | 1.911 | 3.1397 | 1.0466 | 10.4657 | 8.3333 | 31.2009
S1 | Extract | 1060.1373 | 5 | 2120.2746 | 2.1203 | 2.8298
S2 | Extract | 529.6445 | 5 | 1059.289 | 1.0593 | 5.6642
S3 | Extract | 959.6066 | 5 | 1919.2132 | 1.9192 | 3.1263
S4 | Extract | 865.7779 | 5 | 1731.5559 | 1.7316 | 3.4651
S5 | Extract | 732.7681 | 5 | 1465.5362 | 1.4655 | 4.0941
S6 | Extract | 992.0858 | 5 | 1984.1715 | 1.9842 | 3.0239
S1 | S1 | 122.8818 | 2 | 614.4091 | 0.61441 | 9.7655
S2 | S1 | 51.2215 | 2 | 256.1074 | 0.25611 | 23.4277
S3 | S1 | 190.4178 | 2 | 952.0892 | 0.95209 | 6.3019
S4 | S1 | 101.2291 | 2 | 506.1453 | 0.50615 | 11.8543
S5 | S1 | 66.6877 | 2 | 333.4387 | 0.33344 | 17.9943
S6 | S1 | 135.7704 | 2 | 678.8519 | 0.67885 | 8.8385
S1 | S2 | 437.878 | 5 | 875.7561 | 0.87576 | 6.8512
S2 | S2 | 187.3246 | 5 | 374.6492 | 0.37465 | 16.015
S3 | S2 | 561.0926 | 5 | 1122.1852 | 1.1222 | 5.3467
S4 | S2 | 414.1631 | 5 | 828.3262 | 0.82833 | 7.2435
S5 | S2 | 365.7021 | 5 | 731.4043 | 0.7314 | 8.2034
S6 | S2 | 507.9917 | 5 | 1015.9835 | 1.016 | 5.9056
2 ug | 2 ug | 2 ug | 6 ug | 6 ug | 6 ug | 6 ug | 6 ug | 6 ug | 6 ug | 6 ug | 6 ug | 2 ug | 2 ug | 2 ug | 1 ug | 1 ug | 1 ug | Hip
Nuc | Nuc | Nuc | Extract | Extract | Extract | S1 | S1 | S1 | S2 | S2 | S2 | P2 | P2 | P2 | PSD | PSD | PSD | 2021-02-26
S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | Gel 1 | Female
1.6461 | 3.6884 | 1.0831 | 2.8298 | 5.6642 | 3.1263 | 9.7655 | 23.4277 | 6.3019 | 6.8512 | 16.015 | 5.3467 | 7.7267 | 29.0693 | 4.2517 | 10.6955 | 21.6609 | 9.0327
S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | Gel 2 | Male
1.4149 | 1.868 | 1.0466 | 3.4651 | 4.0941 | 3.0239 | 11.8543 | 17.9943 | 8.8385 | 7.2435 | 8.2034 | 5.9056 | 9.2672 | 32.4519 | 5.2527 | 11 | 23.3413 | 9.3324