## SA_BCA_02_17_21_Plate_2
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-02-17 13:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 309166 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.44 | 1.395 | -0.003 | -0.003 | 0.021 | 0.021 | 0.033 | 0.036 | -0.513 | -0.513
B | 1 | 0.989 | 0.001 | -0.001 | -0.005 | -0.002 | 0.024 | 0.031 | -0.513 | -0.512
C | 0.714 | 0.688 | 0.02 | 0.044 | 0.017 | 0.017 | -0.509 | -0.51
D | 0.537 | 0.506 | 0.008 | 0.003 | -0.006 | 0.006 | -0.509 | -0.51
E | 0.371 | 0.348 | 0.062 | 0.061 | -0.003 | 0.001 | -0.512 | -0.511
F | 0.179 | 0.15 | 0.036 | 0.016 | 0.006 | 0.018 | -0.511 | -0.512
G | 0.097 | 0.08 | 0.007 | 0.002 | 0.026 | 0.031 | -0.511 | -0.511
H | 0.01 | 0.004 | 0.05 | 0.048 | 0.007 | 0.017 | -0.513 | -0.513
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | 0.00069721 | -0.0040938 | 412.4921 | 1022.4227 | 1632.3534 | 0.99912 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-02-17 13:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2071.2453 | 2006.7024 | 1.5688 | 1.5688 | 35.9917 | 35.9917 | 53.2031 | 57.506 | -729.9177 | -729.9177
B | 1440.1589 | 1424.3817 | 7.3059 | 4.4374 | -1.2998 | 3.0031 | 40.2946 | 50.3346 | -729.9177 | -728.4834
C | 1029.9528 | 992.6613 | 34.5574 | 68.9803 | 30.2545 | 30.2545 | -724.1806 | -725.6148
D | 776.0839 | 731.621 | 17.346 | 10.1745 | -2.7341 | 14.4774 | -724.1806 | -725.6148
E | 537.9922 | 505.0036 | 94.7975 | 93.3632 | 1.5688 | 7.3059 | -728.4834 | -727.0491
F | 262.6091 | 221.0147 | 57.506 | 28.8203 | 14.4774 | 31.6888 | -727.0491 | -728.4834
G | 144.9975 | 120.6146 | 15.9117 | 8.7402 | 43.1631 | 50.3346 | -727.0491 | -727.0491
H | 20.2145 | 11.6088 | 77.586 | 74.7174 | 15.9117 | 30.2545 | -729.9177 | -729.9177
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-17 13:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2038.9738 | 2038.9738 | 1.5688 | 1.5688 | 35.9917 | 35.9917 | 55.3546 | 55.3546 | -729.9177 | -729.9177
B | 1432.2703 | 1432.2703 | 5.8717 | 5.8717 | 0.85165 | 0.85165 | 45.3146 | 45.3146 | -729.2006 | -729.2006
C | 1011.307 | 1011.307 | 51.7688 | 51.7688 | 30.2545 | 30.2545 | -724.8977 | -724.8977
D | 753.8525 | 753.8525 | 13.7602 | 13.7602 | 5.8717 | 5.8717 | -724.8977 | -724.8977
E | 521.4979 | 521.4979 | 94.0803 | 94.0803 | 4.4374 | 4.4374 | -727.7663 | -727.7663
F | 241.8119 | 241.8119 | 43.1631 | 43.1631 | 23.0831 | 23.0831 | -727.7663 | -727.7663
G | 132.8061 | 132.8061 | 12.3259 | 12.3259 | 46.7488 | 46.7488 | -727.0491 | -727.0491
H | 15.9117 | 15.9117 | 76.1517 | 76.1517 | 23.0831 | 23.0831 | -729.9177 | -729.9177
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-17 13:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.2383 | 2.2383 | 0 | 0 | 0 | 0 | 5.4965 | 5.4965 | 0 | 0
B | 0.77891 | 0.77891 | 34.5454 | 34.5454 | 357.2571 | 357.2571 | 15.6668 | 15.6668 | -0.13908 | -0.13908
C | 2.6074 | 2.6074 | 47.018 | 47.018 | 0 | 0 | -0.13991 | -0.13991
D | 4.1706 | 4.1706 | 36.8524 | 36.8524 | 207.2725 | 207.2725 | -0.13991 | -0.13991
E | 4.473 | 4.473 | 1.078 | 1.078 | 91.423 | 91.423 | -0.13936 | -0.13936
F | 12.163 | 12.163 | 46.9936 | 46.9936 | 52.724 | 52.724 | -0.13936 | -0.13936
G | 12.9823 | 12.9823 | 41.1406 | 41.1406 | 10.8473 | 10.8473 | 0 | 0
H | 38.2434 | 38.2434 | 2.6636 | 2.6636 | 43.9367 | 43.9367 | 0 | 0
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 27.1 | 27.1 | 25.3 | 25.3 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-02-17 13:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 309166 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.995 | 1.95 | 0.552 | 0.552 | 0.576 | 0.576 | 0.588 | 0.591 | 0.042 | 0.042
B | 1.555 | 1.544 | 0.556 | 0.554 | 0.55 | 0.553 | 0.579 | 0.586 | 0.042 | 0.043
C | 1.269 | 1.243 | 0.575 | 0.599 | 0.572 | 0.572 | 0.046 | 0.045
D | 1.092 | 1.061 | 0.563 | 0.558 | 0.549 | 0.561 | 0.046 | 0.045
E | 0.926 | 0.903 | 0.617 | 0.616 | 0.552 | 0.556 | 0.043 | 0.044
F | 0.734 | 0.705 | 0.591 | 0.571 | 0.561 | 0.573 | 0.044 | 0.043
G | 0.652 | 0.635 | 0.562 | 0.557 | 0.581 | 0.586 | 0.044 | 0.044
H | 0.565 | 0.559 | 0.605 | 0.603 | 0.562 | 0.572 | 0.042 | 0.042
Basic assay information
Assay ID: |  |  |  | 1747
Assay Started: |  |  |  | 2021-02-17 13:32
Assay Finished: |  |  |  | 2021-02-17 13:35
Assay Exported: |  |  |  | 2021-02-17 13:57
Assay Started By: |  |  |  | N/A
Protocol ID: |  |  |  | 100175
Protocol Name: |  |  |  | Sameer Aryal BCA Gold
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22
STD - Standard
UNK - Unknown
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 1: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\SA_BCA_02_17_21_Plate_2.csv
Exported data |  |  |  | MeasB:Result Calc1:Blank correction (Blanks on each plate) Calc2:Curve fitting (blank corrected) Calc3:Average of sample type Calc4:%CV of sample type
Operations:
Plate 1
Shake
Duration |  |  |  | 60 s
Speed |  |  |  | 500
Diameter |  |  |  | 3 mm
Shake mode |  |  |  | Linear
Plate location |  |  |  | Inside
First assay/plate repeat affected |  |  |  | 1
Last assay/plate repeat affected |  |  |  | 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63609
Last edited |  |  |  | 2021-01-25 17:15
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Assay notifications:
WARNING: A01: avg("P3488_WA01_L2050051_R1_M8") - avg("P3488_SBL_L2050051_R1_M8") 'Result not found with identifier: 'P3488_WA01_L2050051_R1_M8'
A01: Curve("P3488_WA01_L1_R1_M0") 'Result not found with identifier: 'P3488_WA01_L1_R1_M0'
Notifications for plate 2 repeat 1:
INFO: Assay aborted at plate 2 plate repeat 1 and well 0. There may be missing results
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet1
|  |  | Volume used | Accounting for dilution | In ug ul | To load 2 ug
S1 | P2 | 51.7688 | 2 | 258.8442 | 0.25884 | 7.7267
S2 | P2 | 13.7602 | 2 | 68.8012 | 0.068801 | 29.0693
S3 | P2 | 94.0803 | 2 | 470.4016 | 0.4704 | 4.2517
S4 | P2 | 43.1631 | 2 | 215.8156 | 0.21582 | 9.2672
S5 | P2 | 12.3259 | 2 | 61.6297 | 0.06163 | 32.4519
S6 | P2 | 76.1517 | 2 | 380.7587 | 0.38076 | 5.2527
S1 | Pre | 35.9917 | 5 | 71.9834 | 0.071983 | 27.7842
S2 | Pre | 0.85165 | 5 | 1.7033 | 0.0017033 | 1174.1903
S3 | Pre | 30.2545 | 5 | 60.5091 | 0.060509 | 33.0529
S4 | Pre | 5.8717 | 5 | 11.7433 | 0.011743 | 170.3097
S5 | Pre | 4.4374 | 5 | 8.8747 | 0.0088747 | 225.3588
S6 | Pre | 23.0831 | 5 | 46.1662 | 0.046166 | 43.3217
S1 | PSD | 46.7488 | 5 | 93.4977 | 0.093498 | 21.3909
S2 | PSD | 23.0831 | 5 | 46.1662 | 0.046166 | 43.3217
S3 | PSD | 55.3546 | 5 | 110.7091 | 0.11071 | 18.0654
S4 | PSD | 45.3146 | 5 | 90.6291 | 0.090629 | 22.068
S5 | PSD |  | 5 | 0 | 0 | #DIV/0! | 46.6827
S6 | PSD |  | 5 | 0 | 0 | #DIV/0! | 18.6648