## SA_BCA_02_18_21_Plate_1_ReRun
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-02-18 12:26
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308586 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.846 | 1.833 | 0.004 | 0.004 | 0.97 | 0.991 | 0.458 | 0.44 | 0.505 | 0.534
B | 1.399 | 1.388 | 0.001 | -0.001 | 1.039 | 1.054 | 0.348 | 0.347 | 0.592 | 0.626
C | 0.951 | 0.958 | 1.299 | 1.715 | 0.904 | 0.932 | 0.388 | 0.389
D | 0.736 | 0.701 | 1.713 | 1.753 | 0.921 | 0.948 | 0.471 | 0.506
E | 0.5 | 0.466 | 1.26 | 1.278 | 0.899 | 0.889 | 0.395 | 0.398
F | 0.255 | 0.221 | 1.364 | 1.487 | 1.031 | 1.021 | 0.558 | 0.564
G | 0.13 | 0.113 | 1.408 | 1.415 | 0.305 | 0.317 | 0.538 | 0.589
H | 0.033 | 0.015 | 1.307 | 1.371 | 0.467 | 0.475 | 0.466 | 0.496
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | 0.00092215 | 0.011694 | 386.2755 | 984.7108 | 1583.146 | 0.99981 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-02-18 12:26
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1989.1516 | 1975.0542 | -8.3437 | -8.3437 | 1039.2027 | 1061.9754 | 483.9814 | 464.4619 | 534.949 | 566.3971
B | 1504.4174 | 1492.4888 | -11.5969 | -13.7658 | 1114.0274 | 1130.2937 | 364.6956 | 363.6112 | 629.2932 | 666.1634
C | 1018.5988 | 1026.1897 | 1395.9757 | 1847.093 | 967.6312 | 997.9949 | 408.0723 | 409.1567
D | 785.4492 | 747.4946 | 1844.9242 | 1888.3009 | 986.0663 | 1015.3455 | 498.0788 | 536.0334
E | 529.5269 | 492.6568 | 1353.6835 | 1373.203 | 962.2091 | 951.365 | 415.6632 | 418.9164
F | 263.8449 | 226.9747 | 1466.4628 | 1599.8461 | 1105.3521 | 1094.5079 | 592.4231 | 598.9296
G | 128.2928 | 109.8577 | 1514.1771 | 1521.7681 | 318.0657 | 331.0787 | 570.7347 | 626.04
H | 23.1044 | 3.5849 | 1404.6511 | 1474.0537 | 493.7412 | 502.4165 | 492.6568 | 525.1893
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-18 12:26
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1982.1029 | 1982.1029 | -8.3437 | -8.3437 | 1050.5891 | 1050.5891 | 474.2217 | 474.2217 | 550.673 | 550.673
B | 1498.4531 | 1498.4531 | -12.6814 | -12.6814 | 1122.1606 | 1122.1606 | 364.1534 | 364.1534 | 647.7283 | 647.7283
C | 1022.3942 | 1022.3942 | 1621.5344 | 1621.5344 | 982.813 | 982.813 | 408.6145 | 408.6145
D | 766.4719 | 766.4719 | 1866.6125 | 1866.6125 | 1000.7059 | 1000.7059 | 517.0561 | 517.0561
E | 511.0918 | 511.0918 | 1363.4432 | 1363.4432 | 956.787 | 956.787 | 417.2898 | 417.2898
F | 245.4098 | 245.4098 | 1533.1544 | 1533.1544 | 1099.93 | 1099.93 | 595.6763 | 595.6763
G | 119.0753 | 119.0753 | 1517.9726 | 1517.9726 | 324.5722 | 324.5722 | 598.3874 | 598.3874
H | 13.3446 | 13.3446 | 1439.3524 | 1439.3524 | 498.0788 | 498.0788 | 508.923 | 508.923
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-18 12:26
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.50292 | 0.50292 | 0 | 0 | 1.5327 | 1.5327 | 2.9105 | 2.9105 | 4.0382 | 4.0382
B | 0.5629 | 0.5629 | -12.0933 | -12.0933 | 1.025 | 1.025 | 0.21057 | 0.21057 | 4.025 | 4.025
C | 0.525 | 0.525 | 19.672 | 19.672 | 2.1846 | 2.1846 | 0.18766 | 0.18766
D | 3.5015 | 3.5015 | 1.6432 | 1.6432 | 2.0689 | 2.0689 | 5.1905 | 5.1905
E | 5.1011 | 5.1011 | 1.0123 | 1.0123 | 0.80143 | 0.80143 | 0.55127 | 0.55127
F | 10.6235 | 10.6235 | 6.1518 | 6.1518 | 0.69713 | 0.69713 | 0.77236 | 0.77236
G | 10.9473 | 10.9473 | 0.3536 | 0.3536 | 2.835 | 2.835 | 6.5354 | 6.5354
H | 103.43 | 103.43 | 3.4095 | 3.4095 | 1.2316 | 1.2316 | 4.5201 | 4.5201
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 26.9 | 26.9 | 25 | 24.9 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-02-18 12:26
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308586 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.461 | 2.448 | 0.619 | 0.619 | 1.585 | 1.606 | 1.073 | 1.055 | 1.12 | 1.149
B | 2.014 | 2.003 | 0.616 | 0.614 | 1.654 | 1.669 | 0.963 | 0.962 | 1.207 | 1.241
C | 1.566 | 1.573 | 1.914 | 2.33 | 1.519 | 1.547 | 1.003 | 1.004
D | 1.351 | 1.316 | 2.328 | 2.368 | 1.536 | 1.563 | 1.086 | 1.121
E | 1.115 | 1.081 | 1.875 | 1.893 | 1.514 | 1.504 | 1.01 | 1.013
F | 0.87 | 0.836 | 1.979 | 2.102 | 1.646 | 1.636 | 1.173 | 1.179
G | 0.745 | 0.728 | 2.023 | 2.03 | 0.92 | 0.932 | 1.153 | 1.204
H | 0.648 | 0.63 | 1.922 | 1.986 | 1.082 | 1.09 | 1.081 | 1.111
Basic assay information
Assay ID: |  |  |  | 1752
Assay Started: |  |  |  | 2021-02-18 12:24
Assay Finished: |  |  |  | 2021-02-18 12:26
Assay Exported: |  |  |  | 2021-02-18 12:28
Assay Started By: |  |  |  | N/A
Protocol ID: |  |  |  | 100175
Protocol Name: |  |  |  | Sameer Aryal BCA Gold
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22
STD - Standard
UNK - Unknown
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 1: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\SA_BCA_02_18_21_Plate_1_ReRun.csv
Exported data |  |  |  | MeasB:Result Calc1:Blank correction (Blanks on each plate) Calc2:Curve fitting (blank corrected) Calc3:Average of sample type Calc4:%CV of sample type
Operations:
Plate 1
Shake
Duration |  |  |  | 60 s
Speed |  |  |  | 500
Diameter |  |  |  | 3 mm
Shake mode |  |  |  | Linear
Plate location |  |  |  | Inside
First assay/plate repeat affected |  |  |  | 1
Last assay/plate repeat affected |  |  |  | 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63609
Last edited |  |  |  | 2021-01-25 17:15
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A | 1982.1029 | 1982.1029 | -8.3437 | -8.3437 | 1050.5891 | 1050.5891 | 474.2217 | 474.2217 | 550.673 | 550.673
B | 1498.4531 | 1498.4531 | -12.6814 | -12.6814 | 1122.1606 | 1122.1606 | 364.1534 | 364.1534 | 647.7283 | 647.7283
C | 1022.3942 | 1022.3942 | 1621.5344 | 1621.5344 | 982.813 | 982.813 | 408.6145 | 408.6145
D | 766.4719 | 766.4719 | 1866.6125 | 1866.6125 | 1000.7059 | 1000.7059 | 517.0561 | 517.0561
E | 511.0918 | 511.0918 | 1363.4432 | 1363.4432 | 956.787 | 956.787 | 417.2898 | 417.2898
F | 245.4098 | 245.4098 | 1533.1544 | 1533.1544 | 1099.93 | 1099.93 | 595.6763 | 595.6763
G | 119.0753 | 119.0753 | 1517.9726 | 1517.9726 | 324.5722 | 324.5722 | 598.3874 | 598.3874
H | 13.3446 | 13.3446 | 1439.3524 | 1439.3524 | 498.0788 | 498.0788 | 508.923 | 508.923
|  |  | Vol used | Accouting for dilution | In ug ul | To load 5 ug | To load 2ug | To load 10 ug | 100 ul of 2ug/5ul lysate | Volume of 6x sample buffer | Volume water
Nuc | S1 | 1621.5344 | 4 | 4053.836 | 4.0538 | 1.2334 | 0.49336 |  | 9.8672 | 16.6667 | 73.4661
Nuc | S2 | 1866.6125 | 4 | 4666.5313 | 4.6665 | 1.0715 | 0.42858 |  | 8.5717 | 16.6667 | 74.7617
Nuc | S3 | 1363.4432 | 4 | 3408.6081 | 3.4086 | 1.4669 | 0.58675 |  | 11.735 | 16.6667 | 71.5983
Nuc | S4 | 1533.1544 | 4 | 3832.8861 | 3.8329 | 1.3045 | 0.5218 |  | 10.436 | 16.6667 | 72.8973
Nuc | S5 | 1517.9726 | 4 | 3794.9315 | 3.7949 | 1.3175 | 0.52702 |  | 10.5404 | 16.6667 | 72.793
Nuc | S6 | 1439.3524 | 4 | 3598.381 | 3.5984 | 1.3895 | 0.55581 |  | 11.1161 | 16.6667 | 72.2172
Extract | S1 | 1050.5891 | 4 | 2626.4727 | 2.6265 | 1.9037 |  | 3.8074
Extract | S2 | 1122.1606 | 4 | 2805.4014 | 2.8054 | 1.7823 |  | 3.5646
Extract | S3 | 982.813 | 4 | 2457.0326 | 2.457 | 2.035 |  | 4.07
Extract | S4 | 1000.7059 | 4 | 2501.7648 | 2.5018 | 1.9986 |  | 3.9972
Extract | S5 | 956.787 | 4 | 2391.9676 | 2.392 | 2.0903 |  | 4.1807
Extract | S6 | 1099.93 | 4 | 2749.8251 | 2.7498 | 1.8183 |  | 3.6366
S1 | S1 | 324.5722 | 4 | 811.4305 | 0.81143 | 6.162 |  | 12.3239
S1 | S2 | 498.0788 | 4 | 1245.1971 | 1.2452 | 4.0154 |  | 8.0309
S1 | S3 | 474.2217 | 4 | 1185.5542 | 1.1856 | 4.2174 |  | 8.4349
S1 | S4 | 364.1534 | 4 | 910.3835 | 0.91038 | 5.4922 |  | 10.9844
S1 | S5 | 408.6145 | 4 | 1021.5362 | 1.0215 | 4.8946 |  | 9.7892
S1 | S6 | 517.0561 | 4 | 1292.6403 | 1.2926 | 3.8681 |  | 7.7361
S2 | S1 | 417.2898 | 4 | 1043.2245 | 1.0432 | 4.7928 |  | 9.5857
S2 | S2 | 595.6763 | 4 | 1489.1908 | 1.4892 | 3.3575 |  | 6.7151
S2 | S3 | 598.3874 | 4 | 1495.9684 | 1.496 | 3.3423 |  | 6.6846
S2 | S4 | 508.923 | 4 | 1272.3075 | 1.2723 | 3.9299 |  | 7.8597
S2 | S5 | 550.673 | 4 | 1376.6826 | 1.3767 | 3.6319 |  | 7.2638
S2 | S6 | 647.7283 | 4 | 1619.3208 | 1.6193 | 3.0877 |  | 6.1754
2 ug | 2 ug | 2 ug | 10 ug | 10 ug | 10 ug | 10 ug | 10 ug | 10 ug | 10 ug | 10 ug | 10 ug | 4 ug | 4 ug | 4 ug | 2 ug | 2 ug | 2 ug | Ctx
Nuc | Nuc | Nuc | Extract | Extract | Extract | S1 | S1 | S1 | S2 | S2 | S2 | P2 | P2 | P2 | PSD | PSD | PSD
S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | S1 | S2 | S3 | Gel 1 | Female
5 | 5 | 5 | 3.8074 | 3.5646 | 4.07 | 12.3239 | 8.0309 | 8.4349 | 9.5857 | 6.7151 | 6.6846 | 10 | 10 | 10 | 19.0186 | 11.1815 | 20.4025
S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | S4 | S5 | S6 | Gel 2 | Male
5 | 5 | 5 | 3.9972 | 4.1807 | 3.6366 | 10.9844 | 9.7892 | 7.7361 | 7.8597 | 7.2638 | 6.1754 | 10 | 10 | 10 | 13.9663 | 10.8219 | 8.7871