## SA_BCA_02_18_21_Plate_2_Rd_3
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks | N/A | N/A | N/A | N/A | 2021-02-18 12:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308941 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Calculated results: Calc 1: Blank correction (Blanks on each plate) = X - B where X = Meas B B = Average of Blanks
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.07 | 2.06 | 0.001 | -0.007 | 0.041 | 0.04 | 0.026 | 0.012 | 0.084 | 0.091
B | 1.657 | 1.567 | 0.004 | -0.004 | 0.054 | 0.055 | 0.007 | 0.009 | 0.092 | 0.119
C | 1.149 | 1.038 | 0.282 | 0.364 | 0.032 | 0.034 | 0.013 | 0.025
D | 0.823 | 0.818 | 0.5 | 0.458 | 0.024 | 0.025 | 0.026 | 0.043
E | 0.582 | 0.546 | 0.383 | 0.338 | 0.033 | 0.037 | 0.052 | 0.056
F | 0.275 | 0.246 | 0.361 | 0.34 | 0.083 | 0.065 | 0.071 | 0.099
G | 0.137 | 0.12 | 0.316 | 0.314 | -0.005 | 0.014 | 0.045 | 0.057
H | 0.021 | 0.006 | 0.485 | 0.512 | 0.038 | 0.049 | 0.062 | 0.078
Curve information - Curve quality data
Formula | Slope at 50% binding | Intercept | ED-20 | ED-50 | ED-80 | Correlation coefficient (R) | Forced through origo | Fitting status
Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | 0.0010515 | 0.0097708 | 383.4896 | 972.6627 | 1561.8359 | 0.99929 | No | OK
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate) | N/A | N/A | N/A | N/A | 2021-02-18 12:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 2: Curve fitting (blank corrected) = Curve fitting UNK calculation (blank corrected) where Measurement: Calc1: Blank correction (Blanks on each plate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1959.3732 | 1949.8627 | -8.3414 | -15.9498 | 29.7004 | 28.7494 | 15.4347 | 2.1201 | 70.5954 | 77.2527 |  |  |  | 1940.0274 | 1930.409 | -50.0196 | -57.7143 | -11.546 | -12.5078 | -25.9736 | -39.4394 | 29.8131 | 36.546 | -708.88
B | 1566.5911 | 1480.9969 | -5.4883 | -13.0967 | 42.064 | 43.015 | -2.6352 | -0.73308 | 78.2038 | 103.882 |  |  |  | 1542.7874 | 1456.2218 | -47.1341 | -54.8288 | 0.95792 | 1.9198 | -44.2486 | -42.3249 | 37.5078 | 63.4775 | -708.88
C | 1083.4596 | 977.8935 | 258.9025 | 336.8883 | 21.141 | 23.0431 | 3.0711 | 14.4837 | [5 empty] | 1054.1727 | 947.4085 | 220.2574 | 299.1283 | -20.2026 | -18.2789 | -38.4775 | -26.9354 | -708.88 | -708.88 | -708.88
D | 773.4185 | 768.6633 | 466.2306 | 426.2867 | 13.5326 | 14.4837 | 15.4347 | 31.6025 | [5 empty] | 740.6129 | 735.8037 | 429.9386 | 389.5413 | -27.8973 | -26.9354 | -25.9736 | -9.6223 | -708.88 | -708.88 | -708.88
E | 544.2164 | 509.9787 | 354.9582 | 312.1611 | 22.092 | 25.8962 | 40.1619 | 43.9661 | [5 empty] | 508.8094 | 474.1832 | 317.4033 | 274.1205 | -19.2407 | -15.3934 | -0.96576 | 2.8816 | -708.88 | -708.88 | -708.88
F | 252.2452 | 224.6649 | 334.0352 | 314.0632 | 69.6443 | 52.5255 | 58.2318 | 84.8611 | [5 empty] | 213.5246 | 185.6312 | 296.2428 | 276.0442 | 28.8513 | 11.5382 | 17.3092 | 44.2407 | -708.88 | -708.88 | -708.88
G | 121.0008 | 104.8331 | 291.2381 | 289.336 | -14.0477 | 4.0222 | 33.5046 | 44.9171 | [5 empty] | 80.7906 | 64.4394 | 252.96 | 251.0363 | -55.7906 | -37.5157 | -7.6986 | 3.8434 | -708.88 | -708.88 | -708.88
H | 10.6795 | -3.5862 | 451.9649 | 477.6432 | 26.8473 | 37.3088 | 49.6724 | 64.8891 | [5 empty] | -30.7828 | -45.2104 | 415.511 | 441.4806 | -14.4315 | -3.8513 | 8.6526 | 24.0421 | -708.88 | -708.88 | -708.88
[14 empty] | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-18 12:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1954.618 | 1954.618 | -12.1456 | -12.1456 | 29.2249 | 29.2249 | 8.7774 | 8.7774 | 73.924 | 73.924
B | 1523.794 | 1523.794 | -9.2925 | -9.2925 | 42.5395 | 42.5395 | -1.6841 | -1.6841 | 91.0429 | 91.0429
C | 1030.6765 | 1030.6765 | 297.8954 | 297.8954 | 22.092 | 22.092 | 8.7774 | 8.7774
D | 771.0409 | 771.0409 | 446.2586 | 446.2586 | 14.0081 | 14.0081 | 23.5186 | 23.5186
E | 527.0976 | 527.0976 | 333.5597 | 333.5597 | 23.9941 | 23.9941 | 42.064 | 42.064 |  |  |  |  | 0.10516 | 47.5466
F | 238.455 | 238.455 | 324.0492 | 324.0492 | 61.0849 | 61.0849 | 71.5464 | 71.5464
G | 112.9169 | 112.9169 | 290.2871 | 290.2871 | -5.0128 | -5.0128 | 39.2109 | 39.2109
H | 3.5466 | 3.5466 | 464.804 | 464.804 | 32.078 | 32.078 | 57.2807 | 57.2807
Plate information
Plate | Repeat | Barcode | Formula | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Measurement date
1 | 1 |  | Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples | N/A | N/A | N/A | N/A | 2021-02-18 12:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
Calculated results: Calc 4: %CV of sample type = 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.34405 | 0.34405 | -44.2952 | -44.2952 | 2.3011 | 2.3011 | 107.2629 | 107.2629 | 6.3679 | 6.3679
B | 3.9719 | 3.9719 | -57.8954 | -57.8954 | 1.5809 | 1.5809 | -79.8624 | -79.8624 | 19.9436 | 19.9436
C | 7.2425 | 7.2425 | 18.5113 | 18.5113 | 6.0881 | 6.0881 | 91.9396 | 91.9396
D | 0.43609 | 0.43609 | 6.3292 | 6.3292 | 4.8007 | 4.8007 | 48.6098 | 48.6098
E | 4.593 | 4.593 | 9.0725 | 9.0725 | 11.2109 | 11.2109 | 6.3949 | 6.3949
F | 8.1786 | 8.1786 | 4.3581 | 4.3581 | 19.8164 | 19.8164 | 26.3182 | 26.3182
G | 10.1246 | 10.1246 | 0.46333 | 0.46333 | -254.8948 | -254.8948 | 20.5808 | 20.5808
H | 284.4213 | 284.4213 | 3.9064 | 3.9064 | 23.0607 | 23.0607 | 18.7844 | 18.7844
Plate information
Plate | Repeat | Barcode | Inside temperature at start | Inside temperature at end | Ambient temperature at start | Ambient temperature at end | Meas | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 26.95 | 26.95 | 24.9 | 24.9 | Meas B | 0 | 0 | De=1st Ex=Btm Em=N/A | 1 | 2021-02-18 12:34
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Meas B | 0 | 308941 | 9 | 0:00 | De=1st Ex=Btm Em=N/A
Results for Meas B - (A)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.754 | 2.744 | 0.685 | 0.677 | 0.725 | 0.724 | 0.71 | 0.696 | 0.768 | 0.775 |  |  |  | 1940.0274 | 1930.409 | -50.0196 | -57.7143 | -11.546 | -12.5078 | -25.9736 | -39.4394 | 29.8131 | 36.546 | -708.88
B | 2.341 | 2.251 | 0.688 | 0.68 | 0.738 | 0.739 | 0.691 | 0.693 | 0.776 | 0.803 |  |  |  | 1542.7874 | 1456.2218 | -47.1341 | -54.8288 | 0.95792 | 1.9198 | -44.2486 | -42.3249 | 37.5078 | 63.4775 | -708.88
C | 1.833 | 1.722 | 0.966 | 1.048 | 0.716 | 0.718 | 0.697 | 0.709 | [5 empty] | 1054.1727 | 947.4085 | 220.2574 | 299.1283 | -20.2026 | -18.2789 | -38.4775 | -26.9354 | -708.88 | -708.88 | -708.88
D | 1.507 | 1.502 | 1.184 | 1.142 | 0.708 | 0.709 | 0.71 | 0.727 | [5 empty] | 740.6129 | 735.8037 | 429.9386 | 389.5413 | -27.8973 | -26.9354 | -25.9736 | -9.6223 | -708.88 | -708.88 | -708.88
E | 1.266 | 1.23 | 1.067 | 1.022 | 0.717 | 0.721 | 0.736 | 0.74 | [5 empty] | 508.8094 | 474.1832 | 317.4033 | 274.1205 | -19.2407 | -15.3934 | -0.96576 | 2.8816 | -708.88 | -708.88 | -708.88
F | 0.959 | 0.93 | 1.045 | 1.024 | 0.767 | 0.749 | 0.755 | 0.783 | [5 empty] | 213.5246 | 185.6312 | 296.2428 | 276.0442 | 28.8513 | 11.5382 | 17.3092 | 44.2407 | -708.88 | -708.88 | -708.88
G | 0.821 | 0.804 | 1 | 0.998 | 0.679 | 0.698 | 0.729 | 0.741 | [5 empty] | 80.7906 | 64.4394 | 252.96 | 251.0363 | -55.7906 | -37.5157 | -7.6986 | 3.8434 | -708.88 | -708.88 | -708.88
H | 0.705 | 0.69 | 1.169 | 1.196 | 0.722 | 0.733 | 0.746 | 0.762 | [5 empty] | -30.7828 | -45.2104 | 415.511 | 441.4806 | -14.4315 | -3.8513 | 8.6526 | 24.0421 | -708.88 | -708.88 | -708.88
[14 empty] | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88 | -708.88
Basic assay information | [7 empty] | 2000
Assay ID: |  |  |  | 1753 |  |  |  | 1500
Assay Started: |  |  |  | 2021-02-18 12:32 |  |  |  | 1000
Assay Finished: |  |  |  | 2021-02-18 12:34 |  |  |  | 750
Assay Exported: |  |  |  | 2021-02-18 12:36 |  |  |  | 500
Assay Started By: |  |  |  | N/A |  |  |  | 250
Protocol ID: |  |  |  | 100175 |  |  |  | 50
Protocol Name: |  |  |  | Sameer Aryal BCA Gold |  |  |  | 0
Serial#: |  |  |  | 23000584
Protocol information
Protocol:
Protocol name |  |  |  | Sameer Aryal BCA Gold
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Diameter of the well |  |  |  | 6.5 mm
Volume of the well |  |  |  | 300 µl
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | STD1 | STD1 | STD9 | STD9 | UNK7 | UNK7 | UNK15 | UNK15 | UNK23 | UNK23
B | STD2 | STD2 | BL | BL | UNK8 | UNK8 | UNK16 | UNK16 | UNK24 | UNK24
C | STD3 | STD3 | UNK1 | UNK1 | UNK9 | UNK9 | UNK17 | UNK17
D | STD4 | STD4 | UNK2 | UNK2 | UNK10 | UNK10 | UNK18 | UNK18
E | STD5 | STD5 | UNK3 | UNK3 | UNK11 | UNK11 | UNK19 | UNK19
F | STD6 | STD6 | UNK4 | UNK4 | UNK12 | UNK12 | UNK20 | UNK20
G | STD7 | STD7 | UNK5 | UNK5 | UNK13 | UNK13 | UNK21 | UNK21
H | STD8 | STD8 | UNK6 | UNK6 | UNK14 | UNK14 | UNK22 | UNK22
STD - Standard
UNK - Unknown
BL - Blank
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Blank correction (Blanks on each plate)
Formula |  |  |  | Blank correction (Blanks on each plate) where X = B B = Average of Blanks
Formula index |  |  |  | Calc 2
Formula name |  |  |  | Curve fitting (blank corrected)
Formula |  |  |  | Curve fitting (blank corrected) where Measurement: Calc 1: Blank correction (Blanks on each plate)
Fitting |  |  |  | Linear regression
Method Options |  |  |  | Unweighted
Curve direction |  |  |  | Indefinite
Use Outliers |  |  |  | No
X-axis transformation |  |  |  | None
Y-axis transformation |  |  |  | None
STD1 |  |  |  | 2000
STD2 |  |  |  | 1500
STD3 |  |  |  | 1000
STD4 |  |  |  | 750
STD5 |  |  |  | 500
STD6 |  |  |  | 250
STD7 |  |  |  | 125
STD8 |  |  |  | 25
STD9 |  |  |  | 0
Formula unit
Formula index |  |  |  | Calc 3
Formula name |  |  |  | Average of sample type
Formula |  |  |  | Average of samples where Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Formula index |  |  |  | Calc 4
Formula name |  |  |  | %CV of sample type
Formula |  |  |  | 100 * SD / AVG where SD = Standard deviation of samples AVG = Average of samples Measurement: Calc 2: Curve fitting (blank corrected) Sample: All samples
Auto export parameters:
Export format |  |  |  | Plate5
Picture |  |  |  | No
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | Z:\SameerAryal\SA_BCA_02_18_21_Plate_2_Rd_3.csv
Exported data |  |  |  | MeasB:Result Calc1:Blank correction (Blanks on each plate) Calc2:Curve fitting (blank corrected) Calc3:Average of sample type Calc4:%CV of sample type
Operations:
Plate 1
Shake
Duration |  |  |  | 30 s
Speed |  |  |  | 500
Diameter |  |  |  | 3 mm
Shake mode |  |  |  | Linear
Plate location |  |  |  | Inside
First assay/plate repeat affected |  |  |  | 1
Last assay/plate repeat affected |  |  |  | 1
Measurement
Meas |  |  |  | B
Tech |  |  |  | Absorbance
Measurements:
Meas |  |  |  | B
Exc. filter |  |  |  | N/A
Excitation wavelength |  |  |  | 480 nm
Measurement height |  |  |  | 7.5 mm
Number of flashes |  |  |  | 10
Number of flashes integrated |  |  |  | 9
Flash power |  |  |  | 100%
Excitation light |  |  |  | 100%
Reference excitation light |  |  |  | 100%
Reference AD gain |  |  |  | 1
Reference signal |  |  |  | 63609
Last edited |  |  |  | 2021-01-25 17:15
Last edited by |  |  |  | EnSpire
Factory preset |  |  |  | No
Filters:
Monochromator cutoff 230 |  |  |  | 140
Filter polarization |  |  |  | None
Description |  |  |  | X230co Longpass=230nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 360 |  |  |  | 141
Filter polarization |  |  |  | None
Description |  |  |  | X360co Longpass=360nm Tmin=90%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Monochromator cutoff 585 |  |  |  | 142
Filter polarization |  |  |  | None
Description |  |  |  | X585co Longpass=585nm Tmin=75%
Used with
Last edited |  |  |  | 2011-01-01
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 23000584
Nickname |  |  |  | EnSpire
Exported with EnSpire Workstation version 4.13.3005.1482

## Sheet1
Calculated results: Calc 3: Average of sample type = Average of samples where Measurement: Calc2: Curve fitting (blank corrected) Sample: All samples
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1954.618 | 1954.618 | -12.1456 | -12.1456 | 29.2249 | 29.2249 | 8.7774 | 8.7774 | 73.924 | 73.924
| B | 1523.794 | 1523.794 | -9.2925 | -9.2925 | 42.5395 | 42.5395 | -1.6841 | -1.6841 | 91.0429 | 91.0429
| C | 1030.6765 | 1030.6765 | 297.8954 | 297.8954 | 22.092 | 22.092 | 8.7774 | 8.7774
| D | 771.0409 | 771.0409 | 446.2586 | 446.2586 | 14.0081 | 14.0081 | 23.5186 | 23.5186
| E | 527.0976 | 527.0976 | 333.5597 | 333.5597 | 23.9941 | 23.9941 | 42.064 | 42.064
| F | 238.455 | 238.455 | 324.0492 | 324.0492 | 61.0849 | 61.0849 | 71.5464 | 71.5464
| G | 112.9169 | 112.9169 | 290.2871 | 290.2871 | -5.0128 | -5.0128 | 39.2109 | 39.2109
| H | 3.5466 | 3.5466 | 464.804 | 464.804 | 32.078 | 32.078 | 57.2807 | 57.2807
|  |  | Volume lysate | Accouting for dilution | In ug ul | To load 2 ug | 50 ul of 2ug/5ul lysate | Volume of 6x sample buffer | Volume water
P2 | S1 | 297.8954 | 4 | 744.7386 | 0.74474 | 2.6855 | 26.8551 | 8.3333 | 14.8116
P2 | S2 | 446.2586 | 4 | 1115.6466 | 1.1156 | 1.7927 | 17.9268 | 8.3333 | 23.7398
P2 | S3 | 333.5597 | 4 | 833.8992 | 0.8339 | 2.3984 | 23.9837 | 8.3333 | 17.683
P2 | S4 | 324.0492 | 4 | 810.123 | 0.81012 | 2.4688 | 24.6876 | 8.3333 | 16.9791
P2 | S5 | 290.2871 | 4 | 725.7177 | 0.72572 | 2.7559 | 27.5589 | 8.3333 | 14.1077
P2 | S6 | 464.804 | 4 | 1162.0101 | 1.162 | 1.7212 | 17.2116 | 8.3333 | 24.4551
Syn | S1 | 1: 29.2249; 2: 4; 3: 73.0622; 4: 0.073062; 5: 27.3739
Syn | S2 | 1: 42.5395; 2: 4; 3: 106.3488; 4: 0.10635; 5: 18.806
Syn | S3 | 1: 22.092; 2: 4; 3: 55.2301; 4: 0.05523; 5: 36.2122
Syn | S4 | 1: 14.0081; 2: 4; 3: 35.0203; 4: 0.03502; 5: 57.1097
Syn | S5 | 1: 23.9941; 2: 4; 3: 59.9853; 4: 0.059985; 5: 33.3415
Syn | S6 | 1: 61.0849; 2: 4; 3: 152.7123; 4: 0.15271; 5: 13.0965
Pre | S1 | 1: -5.0128; 2: 4; 3: -12.532; 4: -0.012532; 5: -159.5919
Pre | S2 | 1: 32.078; 2: 4; 3: 80.195; 4: 0.080195; 5: 24.9392
Pre | S3 | 1: 8.7774; 2: 4; 3: 21.9435; 4: 0.021943; 5: 91.1433
Pre | S4 | 1: -1.6841; 2: 4; 3: -4.2103; 4: -0.0042103; 5: -475.024
Pre | S5 | 1: 8.7774; 2: 4; 3: 21.9435; 4: 0.021943; 5: 91.1433
Pre | S6 | 1: 23.5186; 2: 4; 3: 58.7965; 4: 0.058796; 5: 34.0156
PSD | S1 | 1: 42.064; 2: 4; 3: 105.16; 4: 0.10516; 5: 19.0186
PSD | S2 | 1: 71.5464; 2: 4; 3: 178.8661; 4: 0.17887; 5: 11.1815
PSD | S3 | 1: 39.2109; 2: 4; 3: 98.0272; 4: 0.098027; 5: 20.4025
PSD | S4 | 1: 57.2807; 2: 4; 3: 143.2019; 4: 0.1432; 5: 13.9663
PSD | S5 | 1: 73.924; 2: 4; 3: 184.8101; 4: 0.18481; 5: 10.8219
PSD | S6 | 1: 91.0429; 2: 4; 3: 227.6072; 4: 0.22761; 5: 8.7871